## Slide 1: fMRI Quality Assessment Report
sub003 Complete Analysis

## Slide 2: Processing Summary
Total scans processed: 4\n\n• 2mm Resolution (Pre-scan 2)\n TR: 1.4s, QA Images: 16, tSNR Images: 6\n\n• 2mm Resolution (Long TR)\n TR: 2s, QA Images: 16, tSNR Images: 6\n\n• 3mm Resolution\n TR: 1.4s, QA Images: 16, tSNR Images: 6\n\n• 2mm Resolution (Pre-scan 1)\n TR: 2.026s, QA Images: 16, tSNR Images: 6\n\n

## Slide 3: 2mm Resolution (Pre-scan 2)
TR: 1.4s | 2mm × 2mm × 2mm (Pre-scan 2) | QA Images: 16 | tSNR Images: 6

## Slide 4
2mm Resolution (Pre-scan 2): Mean Signal Image

## Slide 5
2mm Resolution (Pre-scan 2): Mean Signal Montage

## Slide 6
2mm Resolution (Pre-scan 2): Temporal SNR Montage (Orange)
Orange/Red colors indicate higher temporal SNR values. Brighter regions show better signal stability over time.

## Slide 7
2mm Resolution (Pre-scan 2): tSNR with ROI Analysis
Temporal SNR analysis with Region of Interest overlay showing quantitative measurements.

## Slide 8
2mm Resolution (Pre-scan 2): tSNR per Unit Time
Temporal SNR normalized per unit time (TR=1.4s). Accounts for different repetition times.

## Slide 9
2mm Resolution (Pre-scan 2): Instantaneous SNR Montage
Instantaneous SNR montage showing spatial distribution of signal-to-noise ratio.

## Slide 10
2mm Resolution (Pre-scan 2): iSNR Coronal View

## Slide 11
2mm Resolution (Pre-scan 2): iSNR Sagittal View

## Slide 12
2mm Resolution (Pre-scan 2): Masked Noise Analysis

## Slide 13
2mm Resolution (Pre-scan 2): Noise Volume Montage

## Slide 14
2mm Resolution (Pre-scan 2): Time Series Analysis

## Slide 15: 2mm Resolution (Long TR)
TR: 2s | 2mm × 2mm × 2mm (Long TR) | QA Images: 16 | tSNR Images: 6

## Slide 16
2mm Resolution (Long TR): Mean Signal Image

## Slide 17
2mm Resolution (Long TR): Mean Signal Montage

## Slide 18
2mm Resolution (Long TR): Temporal SNR Montage (Orange)
Orange/Red colors indicate higher temporal SNR values. Brighter regions show better signal stability over time.

## Slide 19
2mm Resolution (Long TR): tSNR with ROI Analysis
Temporal SNR analysis with Region of Interest overlay showing quantitative measurements.

## Slide 20
2mm Resolution (Long TR): tSNR per Unit Time
Temporal SNR normalized per unit time (TR=2s). Accounts for different repetition times.

## Slide 21
2mm Resolution (Long TR): Instantaneous SNR Montage
Instantaneous SNR montage showing spatial distribution of signal-to-noise ratio.

## Slide 22
2mm Resolution (Long TR): iSNR Coronal View

## Slide 23
2mm Resolution (Long TR): iSNR Sagittal View

## Slide 24
2mm Resolution (Long TR): Masked Noise Analysis

## Slide 25
2mm Resolution (Long TR): Noise Volume Montage

## Slide 26
2mm Resolution (Long TR): Time Series Analysis

## Slide 27: 3mm Resolution
TR: 1.4s | 3mm × 3mm × 3mm | QA Images: 16 | tSNR Images: 6

## Slide 28
3mm Resolution: Mean Signal Image

## Slide 29
3mm Resolution: Mean Signal Montage

## Slide 30
3mm Resolution: Temporal SNR Montage (Orange)
Orange/Red colors indicate higher temporal SNR values. Brighter regions show better signal stability over time.

## Slide 31
3mm Resolution: tSNR with ROI Analysis
Temporal SNR analysis with Region of Interest overlay showing quantitative measurements.

## Slide 32
3mm Resolution: tSNR per Unit Time
Temporal SNR normalized per unit time (TR=1.4s). Accounts for different repetition times.

## Slide 33
3mm Resolution: Instantaneous SNR Montage
Instantaneous SNR montage showing spatial distribution of signal-to-noise ratio.

## Slide 34
3mm Resolution: iSNR Coronal View

## Slide 35
3mm Resolution: iSNR Sagittal View

## Slide 36
3mm Resolution: Masked Noise Analysis

## Slide 37
3mm Resolution: Noise Volume Montage

## Slide 38
3mm Resolution: Time Series Analysis

## Slide 39: 2mm Resolution (Pre-scan 1)
TR: 2.026s | 2mm × 2mm × 2mm (Pre-scan 1) | QA Images: 16 | tSNR Images: 6

## Slide 40
2mm Resolution (Pre-scan 1): Mean Signal Image

## Slide 41
2mm Resolution (Pre-scan 1): Mean Signal Montage

## Slide 42
2mm Resolution (Pre-scan 1): Temporal SNR Montage (Orange)
Orange/Red colors indicate higher temporal SNR values. Brighter regions show better signal stability over time.

## Slide 43
2mm Resolution (Pre-scan 1): tSNR with ROI Analysis
Temporal SNR analysis with Region of Interest overlay showing quantitative measurements.

## Slide 44
2mm Resolution (Pre-scan 1): tSNR per Unit Time
Temporal SNR normalized per unit time (TR=2.026s). Accounts for different repetition times.

## Slide 45
2mm Resolution (Pre-scan 1): Instantaneous SNR Montage
Instantaneous SNR montage showing spatial distribution of signal-to-noise ratio.

## Slide 46
2mm Resolution (Pre-scan 1): iSNR Coronal View

## Slide 47
2mm Resolution (Pre-scan 1): iSNR Sagittal View

## Slide 48
2mm Resolution (Pre-scan 1): Masked Noise Analysis

## Slide 49
2mm Resolution (Pre-scan 1): Noise Volume Montage

## Slide 50
2mm Resolution (Pre-scan 1): Time Series Analysis