## adult_head_Sweet_20260309_tsnr_
Scan Run # | Protocol Name | Auto SCIC | Auto Shim | Auto Subtract | Brain Wave Real Time | Contrast Yes/No | Delay after Acquisition | Excitation Mode | FOV | Fat/Water Saturation | Filter Choice | Flip Angle | Freq | Freq DIR | IDEAL | Imaging Mode | Imaging Options | Mask Pause | Multi b-values | NEX | Number of Echoes | Number of Shots | Number of Slices | Overlap Locations | PSD Trigger | Paradigm String | Paradigm UID | Pause On/Off | Phase | Phase Correction | Preserve | Protocol Notes | Pulse Sequence | RF Drive Mode | Receiver Bandwidth | Recon All Images On | Seperate Series | Slice | Slice Spacing | Slice Thickness | Slice per Location | Synthetic b-value | TE | TR | Tag Type | User CV Mask2 | User CV0 | User CV1
1 | 3-Plane Localizer 3-Plane Localizer | Off | On DIFFUSION | 0 | na | No | na | Selective # Synthetic b-values 1 | 1.00 | na | None | na | 256 | Unswap | na | 2D | Seq, EDR, TRF, Fast, SS, | 0 # of Acq. Before Pause 0 | na | na | 1 | na | na | 0 | Internal CONTRAST | na | na | On | 0 | No | 0 | na | Spin Echo | na | 83.33 | na | 0 | na | 0.0 | 15.00 | na | 1000.0; | 80.0 | 1000.0 | None | 0 | na | 1.00
2 | TRipe_2ssA_MB1_Q TRipe_2ssA_MB1_Q | Off | Auto | 0 | 1 | No Hardware includes pre- | 0 | Selective | 1.00 | Fat | None | 74.0 | 64 | R/L | 1 | 2D | EPI, Asset, FMRI | 0 | 1000.0; acquisition starts. Have the | Values 1.0; of anything specific. | 1 | 1 | 30 | 0 Prescan | Internal | <<20dyn_TR2000>**>* | 1.2.840.113819.3.13543460 | On | 0 OTHERS | Yes | 0 Resting State. | This paradigm design is | Gradient Echo | Preset | na | At 8:20 the Resting State | 0 | Order Sequential | 0.0 | 3.00 | 40 | 1000.0; closed, or fixate on a | 30.0 | 2000.0 | None | 0 | 1.00 SAT | na
3 | TRipe_sAon_MB1_R TRipe_sAon_MB1_R | Off | Auto | 0 | 1 | No Hardware includes pre- | 0 | Selective | 1.00 | Fat | None | 74.0 | 64 | R/L | 1 | 2D | EPI, Asset, FMRI | 0 | 1000.0; acquisition starts. Have the | Values 1.0; of anything specific. | 1 | 1 | 30 | 0 Prescan | Internal | <<20dyn_TR2000>**>* | 1.2.840.113819.3.13543460 | On | 0 OTHERS | Yes | 0 Resting State. | This paradigm design is | Gradient Echo | Preset | na | At 8:20 the Resting State | 0 | Order Sequential | 0.0 | 3.00 | 40 | 1000.0; closed, or fixate on a | 30.0 | 2000.0 | None | 0 | 1.00 SAT | na
4 | TRipe_2CRA_MB2_S TRipe_2CRA_MB2_S | Off | Auto | 0 | 1 | No instructions. | 0 | Selective | 1.00 | Fat | None | 74.0 | 64 | R/L | 1 | 2D | EDR, EPI, FMRI, ARC, HB | 0 Resting State. | 1000.0; of anything specific. | Values 1.0; The patient can either keep | 1 | 1 | 30 | 0 | Internal | <<20dyn_TR2000>**>****** | 1.2.840.113819.3.13543460 | On | 0 | Yes | 0 dummy scans to get to | This paradigm design is | Gradient Echo | Preset | na | acquisition starts. Have the | 0 | Order Sequential | 0.0 Prescan | 3.00 | 40 | 1000.0; specifiied location. | 30.0 | 2000.0 | None | 0 | 1.00 | na
5 | TRipe_CRAon_MB2_T TRipe_CRAon_MB2_T | Off | Auto | 0 | 1 | No instructions. | 0 | Selective | 1.00 | Fat | None | 74.0 | 64 | R/L | 1 | 2D | EDR, EPI, FMRI, ARC, HB | 0 Resting State. | 1000.0; of anything specific. | Values 1.0; The patient can either keep | 1 | 1 | 30 | 0 | Internal | <20dyn_TR2000>** | 1.2.840.113819.3.13543460 | On | 0 | Yes | 0 dummy scans to get to | This paradigm design is | Gradient Echo | Preset | na | acquisition starts. Have the | 0 | Order Sequential | 0.0 Prescan | 3.00 | 40 | 1000.0; specifiied location. | 30.0 | 2000.0 | None | 0 | 1.00 | na
6 | TRipe_2CRA_MB3_U TRipe_2CRA_MB3_U | Off | Auto | 0 | 1 | No instructions. | 0 | Selective | 1.00 | Fat | None | 74.0 | 64 | R/L | 1 | 2D | EDR, EPI, FMRI, ARC, HB | 0 Resting State. | 1000.0; of anything specific. | Values 1.0; The patient can either keep | 1 | 1 | 30 | 0 | Internal | <20dyn_TR2000>** | 1.2.840.113819.3.13543460 | On | 0 | Yes | 0 dummy scans to get to | This paradigm design is | Gradient Echo | Preset | na | acquisition starts. Have the | 0 | Order Sequential | 0.0 Prescan | 3.00 | 40 | 1000.0; specifiied location. | 30.0 | 2000.0 | None | 0 | 1.00 | na
7 | TRipe_CRAon_MB3_V TRipe_CRAon_MB3_V | Off | Auto | 0 | 1 | No instructions. | 0 | Selective | 1.00 | Fat | None | 74.0 | 64 | R/L | 1 | 2D | EDR, EPI, FMRI, ARC, HB | 0 Resting State. | 1000.0; of anything specific. | Values 1.0; The patient can either keep | 1 | 1 | 30 | 0 | Internal | <20dyn_TR2000>** | 1.2.840.113819.3.13543460 | On | 0 | Yes | 0 dummy scans to get to | This paradigm design is | Gradient Echo | Preset | na | acquisition starts. Have the | 0 | Order Sequential | 0.0 Prescan | 3.00 | 40 | 1000.0; specifiied location. | 30.0 | 2000.0 | None | 0 | 1.00 | na
8 | TRipe_2CRA_4BM_W TRipe_2CRA_4BM_W | Off | Auto | 0 | 1 | No instructions. | 0 | Selective | 1.00 | Fat | None | 74.0 | 64 | R/L | 1 | 2D | EDR, EPI, FMRI, ARC, HB | 0 Resting State. | 1000.0; of anything specific. | Values 1.0; The patient can either keep | 1 | 1 | 30 | 0 | Internal | <20dyn_TR2000>** | 1.2.840.113819.3.13543460 | On | 0 | Yes | 0 dummy scans to get to | This paradigm design is | Gradient Echo | Preset | na | acquisition starts. Have the | 0 | Order Sequential | 0.0 Prescan | 3.00 | 40 | 1000.0; specifiied location. | 30.0 | 2000.0 | None | 0 | 1.00 | na
9 | TRipe_CRAon_4BM_X TRipe_CRAon_4BM_X | Off | Auto | 0 | 1 | No instructions. | 0 | Selective | 1.00 | Fat | None | 74.0 | 64 | R/L | 1 | 2D | EDR, EPI, FMRI, ARC, HB | 0 Resting State. | 1000.0; of anything specific. | Values 1.0; The patient can either keep | 1 | 1 | 30 | 0 | Internal | <20dyn_TR2000>** | 1.2.840.113819.3.13543460 | On | 0 | Yes | 0 dummy scans to get to | This paradigm design is | Gradient Echo | Preset | na | acquisition starts. Have the | 0 | Order Sequential | 0.0 Prescan | 3.00 | 40 | 1000.0; specifiied location. | 30.0 | 2000.0 | None | 0 | 1.00 | na

## Metadata
Field | Value
Original PDF Header | Protocol: adult_head_Sweet_20260309_tsnr_dev